P2 Authorization n°A100366

List of authorized users:

| Pr Christian Lüscher: Person in charge, tel. : 95423, bip: 6858930 | Cyril Creton: Person in charge, |
| --- | --- |
| Françoise Loctin: | Matthew Brown |
| Camilla Bellone | Vincent Pascoli |
| Arnaud Lalive d’Epinay | Manuel Mameli |
| Christina Bocklisch | Marc Turiault |
| Kelly Tan |  |

List of product used:

- Associated Adeno Virus (room 8033, -80°C, bottom compartment)

P2 monitoring: (Dec. = decontamination / Cleaning)

| Date | Dec. or Cleaning | Name | Signature |
| --- | --- | --- | --- |

P2 Authorization n°A050611/2

List of authorized users:

| Pr Christian Lüscher: Person in charge, tel. : 95423, bip: 6858930 | Cyril Creton: Person in charge, |
| --- | --- |
| Françoise Loctin: | Matthew Brown |
| Camilla Bellone | Vincent Pascoli |
| Arnaud Lalive d’Epinay | Manuel Mameli |
| Christina Bocklisch | Marc Turiault |
| Kelly Tan |  |

List of product used:

- Lentivecteurs  (room 8033, -80°C, bottom compartment)

P2 monitoring: (Dec. = decontamination / Cleaning)

| Date | Dec. or Cleaning | Name | Signature |
| --- | --- | --- | --- |

Disinfection/decontamination procedures into a P2:

- After use, you must decontaminate your work station with a disinfectant agent (Barrycidal 36 or Méliseptol). Let stand for 1h then wipe.

- Decontamination of your work tools by immersion into a disinfectant bath.

- Every tool that was in contact with an infectious agent must stay for at least 15 min. in bleach. (Needles, glass pipette, blades, etc…).

- For liquid decontamination, you must use bleach in a vacuum flask.

- Disinfect hands after using infectious agent with alcohol-based product neutralizing bacterium, fungus and virus: Hopirub, Hospisept or AHD 2000).

Good Laboratory Practice (GLP):

- P1 = Class 1 = bio-security level 1:

  - The GLP principle must be applied.

  - Mouth pipetting is forbidden. Use mechanical pipette only.

  - Cannulae and needles must be used with caution to avoid accidents. They must be used in cases of absolute necessity, and must be eliminated in the same way as special waste.

  - Avoid the use of aerosols if possible.

  - No food, no drinks and no tobacco, it’s forbidden in the lab.

  - Wash hands before and after working in the lab.

  - Wear lab coat only in the lab.

  - The lab must be kept clean, in order and without materials not related to work.

  - The identity of pathogenic strains used should be regularly controlled to check their pathogenic potential.

  - More information is available from the bio-security service of the CMU.

- P2 = Class 2 = bio-security level 2:

  - The following recommendation must be added to the previous one (P1).

  - The P2 work station must be indicated with a Biohazard logo.

  - Only people designated by the project manager have access to the P2.

  - Doors and windows must be closed during manipulation.

  - If aerosol are produced by the work:

    - Work under a ventilated hood to protect the user.

    - No aerosol must go outside, gas must go into an HEPA filter.

  - Unbreakable container must be used for samples and transport. Samples must be confined during storage and transport.

  - Hands must be washed just after handling infectious samples and when you leave the P2. Wear gloves during handling.

  - The work station must be disinfected once the work is finished.

  - Tools that will be in contact with the infectious agent will be disinfected before cleaning.

  - In case of spillage of human pathogen, the area will be closed and decontaminated.

  - Wear protective clothing (lab coat); remove it when exiting the work station and leave within P2.

  - Contaminated liquid and solid waste must be treated to inactivate the biological material. Autoclave it! (e.g.: 121°C for 20 min., 1.2 bars / 134°C, 1.5 bars for high temperature resistant organisms and spores.

  - The lab must be clean, in order and without materials not related to work

  - Accidents must be reported immediately to the person in charge of the bio-security; they will take appropriate action (e.g.: call a doctor) according to the established protocol.

  - The identity of pathogenic strains used should be regularly controlled to check their pathogenic potential.

  - More information is available from the bio-security service of the CMU.